## Slide 1: Public Health Operations & Capabilities Los Angeles County
Kathleen Kaufman
Former Director, LA County Radiation Management

## Slide 2: LA County Perspective
LA County is big- 10 million people, the largest population of any county in the nation.
  Approximately 28 percent of California's residents live in Los Angeles County.
The County’s coastline is 81 miles long
It is 4,084 square miles, an area some 800 square miles larger than the combined area of Delaware and Rhode Island
There are 88 cities within the County, each with its own city council & mayor, & many with their own police &/or fire departments

## Slide 3: Applicability
So many of our challenges are similar to both what locals confront, and to those that states confront.
And, many of our actions can be used by local, state, & federal agencies

## Slide 4: Major Exercises
In 2004 we participated in three large exercises
  Operation Synergy
    Department of Energy Exercise
  Determined Promise 04
    Asymmetric Warfare Initiative Exercise
  Operation Talavera
    Los Angeles County Exercise

## Slide 5: Issue/“Footprinting” a Plume
During our exercises, we used our radio system to try and “footprint” a plume
  Staff drove around with meters, and called a central location with the results
  The central location & the radio system was immediately overwhelmed
    They had to mark the location of the reading on a map, with the measurements
    Staff was frustrated because they couldn’t get through
Non-radiation staff’s measurements weren’t always correct

## Slide 6: Response Issues
None of the agencies’ response actions were well integrated with each other.
  We knew what we (Radiation Management) wanted to do, but we didn’t know what other agencies were doing! And they didn’t know what we were doing.
It was clear this wasn’t going to be effective

## Slide 7: Issue/Population Monitoring
Population monitoring could stress existing systems, particularly relative to having subject matter experts available
  Radiation volunteers will be helpful, but they can’t make decisions re what areas need evacuation
We could exponentially increase our capabilities if the data could be reviewed remotely, & include multiple jurisdictions’ and agencies’ measurements
We knew a “telemetry” system could solve many of these problems

## Slide 8: Field Components
8
LINC
MESH
WiFi
Cellular
Ethernet
Lifeline
Interoperability
Network
Communicator
LINC
Lifeline Gateway
Notes: 8

## Slide 9: Telemetry System
9
SME is able to read and interpret data
PUBLIC
HEALTH DOC
Graphical data is sent to Emergency Managers
OA EOC
Responder in the field uses wireless radiation sensor
Radiation sensor sends reading to Gateway
Gateway relay sends reading via data packet to a central server

## Slide 10: Population Monitoring
Notes: 10
Victim on a stretcher going thru monitor. The monitors also have a vehicle adapter, so that vehicles, including a fire engine, could go thru it.

## Slide 11: Radiation Energy Gradient

## Slide 12: Integration
We started with just a few agencies involved
Conducted drills to make sure the system worked, and improve the system
Gradually the number of agencies increased
Radiation Management provided training to many of the responders
  Ensured a basic knowledge of how to respond to a radiation event
  Noted the many similarities & differences between their all-hazards training & a radiation event
    Contamination not the priority for a radiation event, compared to a chemical event

## Slide 13: Every Los Angeles Regional Hazmat Team Involved in the Telemetry System
L.A. City Fire | L.A. County Fire
L.A. County Sheriff | L.A. P.D.
L.A. County Rad Mgnt | L.A. County Health Hazmat
Glendale Fire | Santa Fe Springs Fire
LAX Airport | Long Beach Fire
Ontario Fire | Beverly Hills Fire
Riverside Fire | Joint Hazard Assessment Tm
County Coroner | Burbank Fire

## Slide 14: In Process of Getting Telemetry
City of Torrance | City of Vernon
MTA (Transit Authority) | Port Police
Port of Los Angeles | Port of Long Beach

## Slide 15: Outside Our Region
San Francisco Fire | San Luis Obispo Fire | US EPA ERT
NYPD Counter Terrorism | Air National Guard | Tinker AFB
Boston Fire | Seattle Fire | 1st, 9th, 10th CSTs
MA State Hazmat | Health Canada | Frontier Oil
Quanta Airlines | AClean | NEC

## Slide 16: Integrated Sensors (and more)
16

## Slide 17: Example – Rose Bowl/BCS

## Slide 18: Example – Long Beach Grand Prix

## Slide 19: Mobile Apps Tool
Mobile Apps: iPHONE & Blackberry

## Slide 20: Issue/Monitoring Responders’ Doses
Fear of radiation dose is of concern to those we’ll need after a radiation event
  Public Health nurses
  Ambulance drivers
  Other County workers
Electronic dosimeters are expensive to provide to hundreds/thousands people
Will be helpful if we can provide quick and accurate information regarding their doses

## Slide 21: microStar System
We have a system that allows us to measure personal doses ourselves
Both a manual and an automatic reader
4,000 personnel monitoring badges
  We hope to “read” those every, or every-other, night
  Badges can be sent to the company for “official” readings later
We can also use this system for making measurements that are otherwise difficult to measure
  CT scanners, radiation therapy dose verification

## Slide 22: Monitoring Doses
Can use partner system
  Only one responder wears a dosimeter, & we assume everyone in his/her group got that same dose
One microSTAR system can be used for many agencies
  A manual reader is about $16K, & each badge is about $5
  We’re working with the FBI to supply them with badges

## Slide 23: Thank you!